## Slide 1: 16S rRNA Experimental Design
2016 Metagenomics Course
Dave baker and tom barker
Platforms and Pipelines

## Slide 2: Considerations
Choose your regions(s)
  There is no consensus on which subsets to use for community analysis
PCR bias
  Community bias
  Size… some as large as 2.5kb
  (preferential amplification of smaller products)
  Cycles
  Chimeras
  Initial starting template
    Normalisation across all samples is important!
Cost
Replicates
  Biological
  Technical
If time and costs permit do a small pilot or trial using several different strategies looking at different variable regions
Before embarking on an experiment there are many things to consider
Depending on the community being studied and the hypotheses posed, different target regions and multiplexing strategies can be employed.

## Slide 3: Bias
7 species
1 Mock pooling of cells
2 Mock pooling of gDNA
3 Mock pooling of PCR
1
2
3
Brooks et al 2015
The observed community composition can be a severe distortion of the quantities of bacteria actually present in the microbiome, hampering analysis and threatening the validity of conclusions from metagenomic studies.
Bias
Bias
Bias
=

## Slide 4: DNA Extraction Kit
Conclusions
This study demonstrates important differences in the yield and relative abundance of key bacterial families for kits used to isolate bacterial DNA from stool. This highlights the importance of ensuring that all samples to be analyzed together are prepared with the same DNA extraction method, and the need for caution when comparing studies that have used different methods

## Slide 5: Choosing your platform
 | Type | Reads per run | Size | Common regions | Comments
Roche 454 | Standard PCR | Up to 1 million | 400-700 bp | V1-V3 | No longer supported and expensive
Illumina | Standard PCR | 25 000 000/ Miseq PE300/250 | 300-500 bp | V1-V3, V3-V4, V4, V4-5 | Tom to go into more detail
Illumina | Nextera | 25 000 000/ Miseq PE300/250 | 300-500 bp | V1-V3, V3-V4, V4, V4-5 | Tom to go into more detail
PacBio | PCR (1.5 kb) | 75 000/cell | 1.5 kb | Entire region and less | Next slides…
Minion | Barcoded (12) PCR | 50 000 | 1.5 kb | Entire region | Not reproducible good for quick assessment

## Slide 6: PacBio
Single Molecule Real Time Sequencing
Average amplicon polymerase reads around 15kb and increasing
15% raw error rate

## Slide 7: Circular Consensus Sequence (CCS) Reads
CCS Accuracy | Full Length 16S reads per cell
90.0 % | 50 000
99.0 % | 25 000
99.9% | 10 000
92 000 reads 2.5 Gbp raw data average read length of 27.4kb
Based on 33% loading of 150 000 well/ZMW’s

## Slide 8: PacBio
384 barcodes with symmetric barcodes and a potential 73 536 using asymmetric barcodes (16 bp)
Although cost per base higher than Illumina, supplementing databases with full-length 16S sequences continues to be important especially in generating niche specific databases
Significant increases in several orders of taxa from FL PacBio data compared to short read Illumina data
  Better taxonomic resolution
  Less ambiguous classification
New Sequel platform increasing reads from one cell by 7X
  New Sequel cells scalable…
    Currently 1 million ZMW’s
    Going up to 5 million in 2017
P6-C4
P7-C5 ???
Read length Improvement

## Slide 9: PacBio Primer Design Considerations
The ability to classify sequences to genus or species level is a function of
  Read length
  Sample type
  Reference database

## Slide 10: PacBio Further reading
Notes: Because of the recent technologies focucussing on particular regions increased readlengths increase the accuracy and sensitivity of classificaction against databases

## Slide 11: Illumina’s Two PCR Protocol
P5
P7
i5
i7
16S V4
TruSeq Adapter Overhang
TruSeq Adapter Overhang
16S V4
Amplicon
Library
1st PCR
16S V4
TruSeq Adapter Overhang
Highly Conserved Region
Hypervariable Region 4
TruSeq Adapter Overhang
16S V4
Highly Conserved Region
2nd PCR
Pros
Only need to design a primer set for your region of interest.
Use the same indexed primers for any region of interest.
You can use Illumina’s Nextera XT Index kits for second PCR
Cons
Requires two PCRs and clean-ups making it more expensive.
Sequencing through the region of interest primer loses ~20bp of sequencing from each read.

## Slide 12: Kozich et al Dual Index Strategy
P5
P7
i5
i7
16S V4
16S V4
Amplicon
Library
P5
i5
16S V4
i7
P7
16S V4
Highly Conserved Region
Hypervariable Region 4
Highly Conserved Region
Pad
Pad
Single PCR
Pad
Pad
Pros
Single PCR and clean-up making it cheaper than the two PCR approach.
Uses custom sequencing primers so you don’t have to sequence through the region of interest primer.
Cons
All primers are specific to the region of interest so a whole new set of primers needs to be ordered for each different region.
Custom sequencing primers are required.

## Slide 13: Phasing, Pre-Phasing, and Colour Matrix
Empirical phasing correction algorithm
Old versions of MCS/ HCS calculated phasing and pre-phasing corrections for the first 12 cycles and applied this value to the rest of the run.
Current versions of software optimise phasing and pre-phasing correction for every cycle.
Cross Talk Matrix
There are two lasers that excite four dyes, one for each base.
The emission spectra of the four dyes overlap slightly.
Frequency cross-talk needs to be deconvolved using a frequency cross talk calibration
Older versions of MCS/ HCS used the first 4 cycles but newer versions use 11 improving estimations for low diversity samples.

## Slide 14: Sequencing Low Diversity Libraries
>=Q30
6.0 GB
85.5%
25.45%
PhiX
Data once PhiX is removed = 10.03 M Reads (4.5 GB)
>=Q30
10.1 GB
89.2%
1.72%
PhiX
Data once PhiX is removed = 21.73 M Reads
(9.9 GB)
Same sequence for first 5 cycles so multiple clusters are called as one.
Sequence diverges at later cycles and clusters do not pass filter.
A
C
G
T

## Slide 15: Spacers, Molecular Barcodes, and Chimeras
Two step PCR method reduces PCR biases caused by long barcoded primers.
Spacers on each end totalling 7bp shift sequencing phases increasing sequence diversity.
Single 12bp index.
Average 10% more bases >Q30
~15% more raw reads.
Spacers
P5
P7
Illumina Sequencing Primer
Spacer
(0-7bp)
Wu et al 2015
Index
Illumina Sequencing Primer
Molecular Barcodes
Randomers used to distinguish PCR duplicates from unique template molecules.
Can be used to identify sequencing errors or true variation.
Chimeras
Amount of template DNA and PCR cycles should be optimised to reduce formation of chimeras.
Too much DNA or too many cycles PCR can increase occurrence of chimeras.
Use of a polymerase with high processivity has been shown to reduce chimera formation.

## Slide 16: Further Reading